Read Registers 1
Read Registers 54
Discrete Input
Coils
Input Registers
Holding Registers
Read input 0
Read coils 4
Device application
MODBUS
data model
MODBUS
PDU addresses
MODBUS Standard
Application Specific

---
[Receive MB Indication]
Wait for a
MB indication
Validate
Function Code
[invalid]
ExceptionCode = 1
[valid]
Validate Data Address
[invalid]
ExceptionCode = 2
[valid]
Validate
Data value
[invalid]
ExceptionCode = 3
[valid]
Execute MB function
[invalid]
ExceptionCode = 4, 5, 6
[valid]
Send Modbus
Exception Response
Send Modbus
Response